{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["封面","扉页","1 表-08 分部分项工程和单价措施项目清单与计价表","2 表-11 总价措施项目清单与计价表","3 表-12 其他项目清单与计价汇总表","4 表-13 规费、税金项目计价表","5 表-20 发包人提供材料和工程设备一览表"],"not_rendered":{"external_links":1,"defined_names":5},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"封面","index":0,"n_rows":19,"n_cols":7,"rows_kept":19,"merged":[[1,2,2,5],[1,6,2,7],[5,0,5,8],[10,4,11,6],[11,1,11,3],[12,4,12,6],[14,4,15,6],[15,1,15,3],[16,4,16,6],[18,3,18,4]],"flags":["formulas_cached_only"]}
[]
[null,null,"泉山0-13号楼污水管改造",{"$nulls":3},"工程"]
[]
[]
[]
["招标工程量清单"]
[]
[]
[]
[]
[]
[null,"招  标  人："]
[{"$nulls":4},"（单位盖章）"]
[]
[]
[null,"造价咨询人："]
[{"$nulls":4},"（单位盖章）"]
[]
[{"$nulls":3},"2023-06-08"]

{"sheet":"扉页","index":1,"n_rows":20,"n_cols":8,"rows_kept":20,"merged":[[1,2,2,6],[1,7,2,7],[4,0,4,9],[7,1,7,2],[7,6,7,8],[8,6,8,8],[10,1,11,2],[10,3,11,3],[10,5,11,5],[11,6,11,8],[12,6,12,8],[15,1,15,2],[15,6,15,8],[16,6,16,8],[19,1,19,2],[19,6,19,8]],"flags":["formulas_cached_only"]}
[]
[null,null,"泉山0-13号楼污水管改造",{"$nulls":4},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[null,"招  标  人：",{"$nulls":3},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",null,null,"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":3},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",null,null,"（签字或盖章）"]
[]
[]
[null,"编  制  人：",{"$nulls":3},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",null,null,"（造价工程师签字盖专用章）"]
[]
[]
[null,"编 制 时 间：",null,"2023年05月30日",null,"复 核 时 间：","2023-06-08"]

{"sheet":"1 表-08 分部分项工程和单价措施项目清单与计价表","index":2,"n_rows":179,"n_cols":12,"rows_kept":179,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,5],[5,9,5,10],[6,2,6,3],[6,4,6,5],[6,9,6,10],[7,2,7,3],[7,4,7,5],[7,9,7,10],[8,0,9,0],[8,1,9,1],[8,2,9,3],[8,4,9,5],[8,6,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,10],[8,11,9,11],[10,0,11,0],[10,1,11,1],[10,2,11,3],[10,4,11,5],[10,6,11,6],[10,7,11,7],[10,8,11,8],[10,9,11,10],[10,11,11,11],[12,2,12,5],[12,9,12,10],[13,2,13,5],[13,9,13,10],[14,2,14,3],[14,4,14,5],[14,9,14,10],[15,2,15,3],[15,4,15,5],[15,9,15,10],[16,2,16,3],[16,4,16,5],[16,9,16,10],[17,2,17,5],[17,9,17,10],[18,2,18,5],[18,9,18,10],[19,2,19,3],[19,4,19,5],[19,9,19,10],[20,2,20,3],[20,4,20,5],[20,9,20,10],[21,2,21,3],[21,4,21,5],[21,9,21,10],[22,2,22,3],[22,4,22,5],[22,9,22,10],[23,2,23,3],[23,4,23,5],[23,9,23,10],[24,0,24,8],[24,9,24,10],[26,3,26,11],[27,0,27,11],[28,0,28,4],[28,5,28,9],[28,10,28,11],[29,0,31,0],[29,1,31,1],[29,2,31,3],[29,4,31,5],[29,6,31,6],[29,7,31,7],[29,8,29,11],[30,8,31,8],[30,9,31,10],[32,0,33,0],[32,1,33,1],[32,2,33,3],[32,4,33,5],[32,6,33,6],[32,7,33,7],[32,8,33,8],[32,9,33,10],[32,11,33,11],[34,0,35,0],[34,1,35,1],[34,2,35,3],[34,4,35,5],[34,6,35,6],[34,7,35,7],[34,8,35,8],[34,9,35,10],[34,11,35,11],[36,0,37,0],[36,1,37,1],[36,2,37,3],[36,4,37,5],[36,6,37,6],[36,7,37,7],[36,8,37,8],[36,9,37,10],[36,11,37,11],[38,0,40,0],[38,1,40,1],[38,2,40,3],[38,4,40,5],[38,6,40,6],[38,7,40,7],[38,8,40,8],[38,9,40,10],[38,11,40,11],[41,2,41,3],[41,4,41,5],[41,9,41,10],[42,2,42,3],[42,4,42,5],[42,9,42,10],[43,2,43,3],[43,4,43,5],[43,9,43,10],[44,2,44,3],[44,4,44,5],[44,9,44,10],[45,2,45,3],[45,4,45,5],[45,9,45,10],[46,0,46,8],[46,9,46,10],[48,3,48,11],[49,0,49,11],[50,0,50,4],[50,5,50,9],[50,10,50,11],[51,0,53,0],[51,1,53,1],[51,2,53,3],[51,4,53,5],[51,6,53,6],[51,7,53,7],[51,8,51,11],[52,8,53,8],[52,9,53,10],[54,0,55,0],[54,1,55,1],[54,2,55,3],[54,4,55,5],[54,6,55,6],[54,7,55,7],[54,8,55,8],[54,9,55,10],[54,11,55,11],[56,0,57,0],[56,1,57,1],[56,2,57,3],[56,4,57,5],[56,6,57,6],[56,7,57,7],[56,8,57,8],[56,9,57,10],[56,11,57,11],[58,0,59,0],[58,1,59,1],[58,2,59,3],[58,4,59,5],[58,6,59,6],[58,7,59,7],[58,8,59,8],[58,9,59,10],[58,11,59,11],[60,0,62,0],[60,1,62,1],[60,2,62,3],[60,4,62,5],[60,6,62,6],[60,7,62,7],[60,8,62,8],[60,9,62,10],[60,11,62,11],[63,0,64,0],[63,1,64,1],[63,2,64,3],[63,4,64,5],[63,6,64,6],[63,7,64,7],[63,8,64,8],[63,9,64,10],[63,11,64,11],[65,2,65,5],[65,9,65,10],[66,0,66,8],[66,9,66,10],[68,3,68,11],[69,0,69,11],[70,0,70,4],[70,5,70,9],[70,10,70,11],[71,0,73,0],[71,1,73,1],[71,2,73,3],[71,4,73,5],[71,6,73,6],[71,7,73,7],[71,8,71,11],[72,8,73,8],[72,9,73,10],[74,2,74,5],[74,9,74,10],[75,0,76,0],[75,1,76,1],[75,2,76,3],[75,4,76,5],[75,6,76,6],[75,7,76,7],[75,8,76,8],[75,9,76,10],[75,11,76,11],[77,0,78,0],[77,1,78,1],[77,2,78,3],[77,4,78,5],[77,6,78,6],[77,7,78,7],[77,8,78,8],[77,9,78,10],[77,11,78,11],[79,0,80,0],[79,1,80,1],[79,2,80,3],[79,4,80,5],[79,6,80,6],[79,7,80,7],[79,8,80,8],[79,9,80,10],[79,11,80,11],[81,2,81,5],[81,9,81,10],[82,2,82,5],[82,9,82,10],[83,0,84,0],[83,1,84,1],[83,2,84,3],[83,4,84,5],[83,6,84,6],[83,7,84,7],[83,8,84,8],[83,9,84,10],[83,11,84,11],[85,0,86,0],[85,1,86,1],[85,2,86,3],[85,4,86,5],[85,6,86,6],[85,7,86,7],[85,8,86,8],[85,9,86,10],[85,11,86,11],[87,2,87,3],[87,4,87,5],[87,9,87,10],[88,2,88,3],[88,4,88,5],[88,9,88,10],[89,0,89,8],[89,9,89,10],[91,3,91,11],[92,0,92,11],[93,0,93,4],[93,5,93,9],[93,10,93,11],[94,0,96,0],[94,1,96,1],[94,2,96,3],[94,4,96,5],[94,6,96,6],[94,7,96,7],[94,8,94,11],[95,8,96,8],[95,9,96,10],[97,0,98,0],[97,1,98,1],[97,2,98,3],[97,4,98,5],[97,6,98,6],[97,7,98,7],[97,8,98,8],[97,9,98,10],[97,11,98,11],[99,0,100,0],[99,1,100,1],[99,2,100,3],[99,4,100,5],[99,6,100,6],[99,7,100,7],[99,8,100,8],[99,9,100,10],[99,11,100,11],[101,0,102,0],[101,1,102,1],[101,2,102,3],[101,4,102,5],[101,6,102,6],[101,7,102,7],[101,8,102,8],[101,9,102,10],[101,11,102,11],[103,0,104,0],[103,1,104,1],[103,2,104,3],[103,4,104,5],[103,6,104,6],[103,7,104,7],[103,8,104,8],[103,9,104,10],[103,11,104,11],[105,0,106,0],[105,1,106,1],[105,2,106,3],[105,4,106,5],[105,6,106,6],[105,7,106,7],[105,8,106,8],[105,9,106,10],[105,11,106,11],[107,0,108,0],[107,1,108,1],[107,2,108,3],[107,4,108,5],[107,6,108,6],[107,7,108,7],[107,8,108,8],[107,9,108,10],[107,11,108,11],[109,0,109,8],[109,9,109,10],[111,3,111,11],[112,0,112,11],[113,0,113,4],[113,5,113,9],[113,10,113,11],[114,0,116,0],[114,1,116,1],[114,2,116,3],[114,4,116,5],[114,6,116,6],[114,7,116,7],[114,8,114,11],[115,8,116,8],[115,9,116,10],[117,0,118,0],[117,1,118,1],[117,2,118,3],[117,4,118,5],[117,6,118,6],[117,7,118,7],[117,8,118,8],[117,9,118,10],[117,11,118,11],[119,2,119,5],[119,9,119,10],[120,2,120,5],[120,9,120,10],[121,0,123,0],[121,1,123,1],[121,2,123,3],[121,4,123,5],[121,6,123,6],[121,7,123,7],[121,8,123,8],[121,9,123,10],[121,11,123,11],[124,0,126,0],[124,1,126,1],[124,2,126,3],[124,4,126,5],[124,6,126,6],[124,7,126,7],[124,8,126,8],[124,9,126,10],[124,11,126,11],[127,0,128,0],[127,1,128,1],[127,2,128,3],[127,4,128,5],[127,6,128,6],[127,7,128,7],[127,8,128,8],[127,9,128,10],[127,11,128,11],[129,2,129,3],[129,4,129,5],[129,9,129,10],[130,2,130,3],[130,4,130,5],[130,9,130,10],[131,2,131,3],[131,4,131,5],[131,9,131,10],[132,2,132,3],[132,4,132,5],[132,9,132,10],[133,2,133,3],[133,4,133,5],[133,9,133,10],[134,0,134,8],[134,9,134,10],[136,3,136,11],[137,0,137,11],[138,0,138,4],[138,5,138,9],[138,10,138,11],[139,0,141,0],[139,1,141,1],[139,2,141,3],[139,4,141,5],[139,6,141,6],[139,7,141,7],[139,8,139,11],[140,8,141,8],[140,9,141,10],[142,0,143,0],[142,1,143,1],[142,2,143,3],[142,4,143,5],[142,6,143,6],[142,7,143,7],[142,8,143,8],[142,9,143,10],[142,11,143,11],[144,0,145,0],[144,1,145,1],[144,2,145,3],[144,4,145,5],[144,6,145,6],[144,7,145,7],[144,8,145,8],[144,9,145,10],[144,11,145,11],[146,0,147,0],[146,1,147,1],[146,2,147,3],[146,4,147,5],[146,6,147,6],[146,7,147,7],[146,8,147,8],[146,9,147,10],[146,11,147,11],[148,0,149,0],[148,1,149,1],[148,2,149,3],[148,4,149,5],[148,6,149,6],[148,7,149,7],[148,8,149,8],[148,9,149,10],[148,11,149,11],[150,0,151,0],[150,1,151,1],[150,2,151,3],[150,4,151,5],[150,6,151,6],[150,7,151,7],[150,8,151,8],[150,9,151,10],[150,11,151,11],[152,2,152,3],[152,4,152,5],[152,9,152,10],[153,0,153,8],[153,9,153,10],[155,3,155,11],[156,0,156,11],[157,0,157,4],[157,5,157,9],[157,10,157,11],[158,0,160,0],[158,1,160,1],[158,2,160,3],[158,4,160,5],[158,6,160,6],[158,7,160,7],[158,8,158,11],[159,8,160,8],[159,9,160,10],[161,2,161,3],[161,4,161,5],[161,9,161,10],[162,0,163,0],[162,1,163,1],[162,2,163,3],[162,4,163,5],[162,6,163,6],[162,7,163,7],[162,8,163,8],[162,9,163,10],[162,11,163,11],[164,0,165,0],[164,1,165,1],[164,2,165,3],[164,4,165,5],[164,6,165,6],[164,7,165,7],[164,8,165,8],[164,9,165,10],[164,11,165,11],[166,0,167,0],[166,1,167,1],[166,2,167,3],[166,4,167,5],[166,6,167,6],[166,7,167,7],[166,8,167,8],[166,9,167,10],[166,11,167,11],[168,0,169,0],[168,1,169,1],[168,2,169,3],[168,4,169,5],[168,6,169,6],[168,7,169,7],[168,8,169,8],[168,9,169,10],[168,11,169,11],[170,2,170,5],[170,9,170,10],[171,2,171,5],[171,9,171,10],[172,2,172,3],[172,4,172,5],[172,9,172,10],[173,2,173,5],[173,9,173,10],[174,2,174,3],[174,4,174,5],[174,9,174,10],[175,0,175,8],[175,9,175,10],[176,0,176,8],[176,9,176,10],[178,3,178,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第1页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null," 拆除工程",{"$nulls":4},""]
["1","041001001001","拆除路面",null,"1、材质：混凝土路面\n2、厚度：20cm\n3、投标单位综合考虑，满足使用单位要求",null,"m2","239.34"]
["2","041001002002","拆除混凝土预制板",null,"1、拆除部位：混凝土盖板\n2、材质：混凝土\n3、投标单位综合考虑，满足使用单位要求",null,"m2","61.89"]
["3","041001002003","拆除人行道",null,"1、拆除部位：人行道\n2、材质：人行道面包砖\n3、投标单位综合考虑，满足使用单位要求",null,"m2","8.55"]
[]
["4","040101005001","挖淤泥、流砂",null,"1、部位：管道清淤\n2、清淤外运出校园，满足使用单位要求\n3、投标单位自主勘探现场，综合考虑、自主报价",null,"项","1"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 土石方工程",{"$nulls":4},""]
["5","040101002001","挖沟槽土方",null,"1、土壤类别：综合考虑\n2、挖土深度：1.5m以内",null,"m3","361.26"]
["6","040103001001","回填方",null,"1、密实度要求：不小于0.94\n2、填方材料品种：素土",null,"m3","250.72"]
["7","040103002001","余方弃置",null,"1、废弃料品种：综合考虑\n2、运距：外运出校园，运距投标单位综合考虑",null,"m3","172.5"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 管网工程",{"$nulls":4},""]
[]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第2页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["8","040305001001","垫层",null,"1、部位：管道垫层\n2、场地原土夯实\n3、材料品种、规格：中砂\n4、回填厚度：150mm\n5、投标单位综合考虑，满足使用单位要求",null,"m3","41.92"]
[]
["9","040501004001","塑料管",null,"1、材质及规格：双壁波纹加筋管\n2、连接形式：胶圈接口\n3、材质及规格：DN500 SN8 S2型\n4、管道检验及试验要求：管道闭水试验\n5、包含但不仅限于管件等，满足使用单位要求",null,"m","177.24"]
[]
["10","040501004002","塑料管",null,"1、材质及规格：双壁波纹加筋管\n2、连接形式：胶圈接口\n3、材质及规格：DN400 SN8 S2型\n4、管道检验及试验要求：管道闭水试验\n5、包含但不仅限于管件等，满足使用单位要求",null,"m","102.21"]
[]
["11","040501004003","塑料管",null,"1、垫层、基础材质及厚度：10CM碎石垫层，15CMC25混凝土垫层；\n2、材质及规格：HDPE高密度聚乙烯双壁缠绕钢衬波纹排水管，环刚度SN8 DN300\n3、连接形式：胶圈承插连接\n4、铺设深度：1m以内",null,"m","30"]
{"$rows_empty":7}
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第3页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["12","040504001001","砌筑井",null,"1、名称：污水井\n2、材质：标准砖\n3、内控尺寸：600*600*1200mm\n4、砂浆配合比：井内侧1:2水泥砂浆抹灰\n5、投标单位综合考虑，满足使用单位要求",null,"座","24"]
[]
["13","040504008001","整体化粪池",null,"1、材质：玻璃钢化粪池\n2、型号、规格：容积16m3\n3、包含吊装等费用\n4、投标单位综合考虑，满足使用单位要求",null,"座","1"]
[]
["14","010401011001","砖砌筑检查井",null,"1、井截面、深度：500*500*1000\n2、垫层材料种类、厚度：10CM碎石垫层，15CM混凝土\n3、底板厚度：15CM混凝土\n4、井盖安装：成套铸铁井盖安装\n5、混凝土强度等级：C15",null,"座","5"]
[]
["15","010401011002","砖砌筑阀门井",null,"1、井截面、深度：底口直径1200*上口直径700\n2、砖品种、规格、强度等级：普通粘土砖\n3、垫层材料种类、厚度：10CM碎石垫层，15CM混凝土\n4、底板厚度：15CM混凝土\n5、井盖安装：成套铸铁井盖安装",null,"座","1"]
[]
[]
["16","010401011003","砖砌筑水表井",null,"1、井截面、深度：1200*1000*600\n2、砖品种、规格、强度等级：标准砖\n3、垫层材料种类、厚度：10CM碎石垫层，15CM混凝土\n4、底板厚度：15CM混凝土\n5、井盖安装：成套铸铁井盖安装",null,"座","6"]
[]
[null,null,"分部小计",{"$nulls":4},""]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第4页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null," 道路工程",{"$nulls":4},""]
["17","040202011001","碎石",null,"1、部位：混凝土路面\n2、石料规格：级配碎石\n3、厚度：20cm\n4、投标单位综合考虑，满足使用单位要求",null,"m2","290.97"]
[]
["18","040203007001","水泥混凝土",null,"1、部位：混凝土路面恢复\n2、混凝土种类：商品混凝土\n3、混凝土强度等级：C30\n4、厚度：20cm\n5、包含模板等\n6、投标单位综合考虑，满足使用单位要求",null,"m2","290.97"]
[]
["19","040203008002","块料面层",null,"1、部位：人行道路面\n2、块料品种、规格：面包砖恢复（主材利旧）\n3、投标单位综合考虑，满足使用单位要求",null,"m2","8.55"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 三食堂停车场出口改造",{"$nulls":4},""]
["20","041001005001","拆除侧、平（缘）石",null,"1、部位：停车场出口\n2、路缘石拆除，垃圾外运出校园\n3、投标单位自主勘探现场，综合考虑、自主报价，满足使用单位要求",null,"m","12"]
[]
["21","040204004001","安砌侧（平、缘）石",null,"1、部位：停车场出口\n2、材料品种、规格：石质路缘石（边口处圆角处理）\n3、基础、垫层：10CM厚C25混凝土垫层\n4、投标单位自主勘探现场，综合考虑、自主报价，满足使用单位要求",null,"m","10.4"]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第5页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["22","050101007001","清除地被植物",null,"1、部位：停车场出口\n2、地被植物清理，满足使用单位要求\n3、投标单位自主勘探现场，综合考虑、自主报价",null,"m2","15.12"]
[]
["23","041001002001","拆除人行道",null,"1、部位：停车场出口\n2、人行道地砖拆除，外运出校园\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","6.3"]
[]
["24","040101001001","挖一般土方",null,"1、部位：停车场出口\n2、土壤类别：二类土\n3、土方开挖，外运出校园\n4、投标单位自主勘探现场，综合考虑、自主报价，满足使用单位要求",null,"m3","10.71"]
[]
["25","040202001001","路床（槽）整形",null,"1、部位：停车场出口\n2、路床整形碾压，满足使用单位要求\n3、投标单位自主勘探现场，综合考虑、自主报价",null,"m2","21.84"]
[]
["26","040203007002","水泥混凝土",null,"1、部位：停车场出口\n2、碎石基层：20CM厚碎石垫层\n3、混凝土强度等级：20CM厚C30混凝土路面\n4、投标单位自主勘探现场，综合考虑、自主报价，满足使用单位要求",null,"m2","21.84"]
[]
["27","040203008001","块料面层",null,"1、部位：停车场出口\n2、结合层：30厚1:3干硬性水泥砂浆\n3、面层：300*600*50mm五莲红火烧板铺设\n4、投标单位自主勘探现场，综合考虑、自主报价，满足使用单位要求",null,"m2","21.84"]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第6页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["28","030412007001","路灯移位",null,"1、部位：停车场出口\n2、路灯拆除移位安装，位置依照使用单位要求\n3、投标单位自主勘探现场，综合考虑、自主报价，满足使用单位要求",null,"项","1"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 给排水、采暖、燃气工程",{"$nulls":4},""]
["29","031001005001","铸铁管",null,"1、安装部位：室外\n2、介质：给水\n3、材质、规格：球墨铸铁管DN150\n4、连接形式：承插连接\n5、接口材料：胶圈\n6、压力试验及吹、洗设计要求：按规范执行\n7、厂家品牌：圣戈班、金鑫、新兴同等品质知名品牌",null,"m","50.9"]
[]
[]
["30","031001006001","塑料管",null,"1、安装部位：室外\n2、介质：冷水\n3、材质、规格： S4级PPR管De90*10.1(含管件安装）\n4、连接形式：热熔连接\n5、压力试验及吹、洗设计要求：水压实验\n6、厂家品牌要求：金牛、中财、日丰、联塑同等品质知名品牌",null,"m","36"]
[]
[]
["31","031001006002","塑料管",null,"1、安装部位：室外\n2、介质：冷水\n3、材质、规格： S4级PPR管De110*10.1(含管件安装）\n4、连接形式：热熔连接",null,"m","12"]
[]
[]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第7页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["32","031001006003","塑料管",null,"1、安装部位：室外\n2、介质：冷水\n3、材质、规格： S4级PPR管De63*7.1(含管件安装）\n4、连接形式：热熔连接\n5、厂家品牌要求：金牛、中财、日丰、联塑同等品质知名品牌",null,"m","47.8"]
[]
["33","031001006004","塑料管",null,"1、安装部位：室外\n2、介质：冷水\n3、材质、规格：PPR管De32*2.9(含管件安装）\n4、连接形式：热熔连接\n5、厂家品牌要求：金牛、中财、日丰、联塑同等品质知名品牌",null,"m","12"]
[]
["34","031003004001","带短管甲乙阀门",null,"1、材质：炭素钢\n2、规格、压力等级：DN150  1.0MPa\n3、连接形式：甲乙短管法兰连接\n4、接口方式及材质：K型球墨铸铁\n5、厂家品牌要求：竹篑、上海沪工、冠龙、上海标一同等品质知名品牌",null,"个","1"]
[]
["35","031003003001","焊接法兰阀门",null,"1、类型：法兰闸阀\n2、材质：铸钢\n3、规格、压力等级：DN100  1.0MPa\n4、连接形式：法兰连接\n5、厂家品牌要求：竹篑、上海沪工、冠龙、上海标一同等品质知名品牌",null,"个","3"]
[]
["36","031003001001","螺纹阀门",null,"1、类型：螺纹闸阀\n2、材质：全铜\n3、规格、压力等级：DN50  1.0MPa\n4、连接形式：螺纹连接\n5、厂家品牌：竹篑、宁波埃美柯、天津塘沽同等知名品牌",null,"个","3"]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":4},"第8页 共8页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["37","031003005001","塑料阀门",null,"1、规格：DN20\n2、连接形式：热熔连接",null,"个","1"]
["38","031003013001","水表",null,"1、安装部位（室内外）：室外\n2、型号、规格：DN100\n3、连接形式：法兰连接\n4、水表要求：原水表利旧安装，拆除时注意保护水表",null,"组(个)","3"]
[]
["39","031003013002","水表",null,"1、安装部位（室内外）：室外\n2、型号、规格：DN50\n3、连接形式：法兰连接\n4、附件配置：全铜丝接\n5、水表要求：原水表利旧安装，拆除时注意保护水表",null,"组(个)","3"]
[]
["40","031003013003","水表",null,"1、安装部位（室内外）：室外\n2、型号、规格：DN20\n3、连接形式：螺纹连接\n4、附件配置：全铜丝接\n5、水表要求：原水表利旧安装，拆除时注意保护水表",null,"组(个)","1"]
[]
["41","011612001001","管道拆除",null,"1、管道种类、材质：镀锌钢管DN50-DN100\n2、管道上的附着物种类：包含法兰、阀门、水表拆除\n3、拆除要求：水表保护性拆除，利旧安装。管道拆除施工单位自行处理。",null,"m","110"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"分部分项合计",{"$nulls":4},""]
["1","041106001001","大型机械设备进出场及安拆",{"$nulls":3},"项","1"]
[null,null,"单价措施合计",{"$nulls":4},""]
[]
["本页小计"]
["合    计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"2 表-11 总价措施项目清单与计价表","index":3,"n_rows":39,"n_cols":14,"rows_kept":39,"merged":[[0,0,0,14],[1,0,1,6],[1,7,1,11],[1,12,1,14],[2,2,2,4],[2,6,2,7],[2,8,2,9],[2,11,2,12],[2,13,2,14],[3,2,3,4],[3,6,3,7],[3,8,3,9],[3,11,3,12],[3,13,3,14],[4,2,4,4],[4,6,4,7],[4,8,4,9],[4,11,4,12],[4,13,4,14],[5,2,5,4],[5,6,5,7],[5,8,5,9],[5,11,5,12],[5,13,5,14],[6,2,6,4],[6,6,6,7],[6,8,6,9],[6,11,6,12],[6,13,6,14],[7,2,7,4],[7,6,7,7],[7,8,7,9],[7,11,7,12],[7,13,7,14],[8,2,8,4],[8,6,8,7],[8,8,8,9],[8,11,8,12],[8,13,8,14],[9,2,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[10,2,10,4],[10,6,10,7],[10,8,10,9],[10,11,10,12],[10,13,10,14],[11,2,11,4],[11,6,11,7],[11,8,11,9],[11,11,11,12],[11,13,11,14],[12,2,12,4],[12,6,12,7],[12,8,12,9],[12,11,12,12],[12,13,12,14],[13,2,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[14,2,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[15,2,15,4],[15,6,15,7],[15,8,15,9],[15,11,15,12],[15,13,15,14],[16,0,16,14],[17,3,17,14],[18,0,18,3],[18,9,18,13],[19,0,19,14],[20,0,20,6],[20,7,20,11],[20,12,20,14],[21,2,21,4],[21,6,21,7],[21,8,21,9],[21,11,21,12],[21,13,21,14],[22,2,22,4],[22,6,22,7],[22,8,22,9],[22,11,22,12],[22,13,22,14],[23,2,23,4],[23,6,23,7],[23,8,23,9],[23,11,23,12],[23,13,23,14],[24,0,26,0],[24,1,26,1],[24,2,26,4],[24,5,26,5],[24,6,26,7],[24,8,26,9],[24,10,26,10],[24,11,26,12],[24,13,26,14],[27,2,27,4],[27,6,27,7],[27,8,27,9],[27,11,27,12],[27,13,27,14],[28,0,30,0],[28,1,30,1],[28,2,30,4],[28,5,30,5],[28,6,30,7],[28,8,30,9],[28,10,30,10],[28,11,30,12],[28,13,30,14],[31,2,31,4],[31,6,31,7],[31,8,31,9],[31,11,31,12],[31,13,31,14],[32,2,32,4],[32,6,32,7],[32,8,32,9],[32,11,32,12],[32,13,32,14],[33,2,33,4],[33,6,33,7],[33,8,33,9],[33,11,33,12],[33,13,33,14],[34,2,34,4],[34,6,34,7],[34,8,34,9],[34,11,34,12],[34,13,34,14],[35,2,35,4],[35,6,35,7],[35,8,35,9],[35,11,35,12],[35,13,35,14],[36,0,36,14],[37,3,37,14],[38,0,38,3],[38,9,38,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":6},"标段：",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["1","041109001001","安全文明施工费",{"$nulls":3},""]
["1.1",null,"基本费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","1.500"]
["1.2",null,"增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["1.3",null,"扬尘污染防治增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","0.310"]
["2","041109002001","夜间施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","041109003001","二次搬运",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["4","041109004001","冬雨季施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","041109005001","行车、行人干扰",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["6","041109006001","地上、地下设施、建筑物的临时保护设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","041109007001","已完工程及设备保护",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","041109008001","临时设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":6},"标段：",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["9","041109009001","赶工措施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","041109010001","工程按质论价",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["11","041109011001","建筑工人实名制费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"建筑工人实名制设备由建筑工人工资专用账户开户银行提供的，建筑工人实名制费用按表中费率乘以0.5系数计取"]
[]
[]
["12","041109091001","特殊条件下施工增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["13","041109015001","智慧工地费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"现场安全隐患排查、人员信息动态管理、扬尘管控视频监控、高处作业防护预警、危大工程监测预警和集成平台等设备、软件和管理费用。"]
[]
[]
["14","041109016001","新冠疫情常态化防控",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]

{"sheet":"3 表-12 其他项目清单与计价汇总表","index":4,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,6],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,2],[41,3,41,4],[41,6,41,7],[43,2,43,7]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目名称",null,"金额(元)",null,"结算金额(元)","备注"]
["1","暂列金额",null,""]
["2","暂估价",null,""]
["2.1","材料暂估价",null,""]
["2.2","专业工程暂估价",null,""]
["3","计日工",null,""]
["4","总承包服务费",null,""]
{"$rows_empty":32}
["合  计",null,null,""]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"4 表-13 规费、税金项目计价表","index":5,"n_rows":41,"n_cols":11,"rows_kept":41,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,1,2,2],[2,3,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,6,7,7],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,6,9,7],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,6,10,7],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,6,13,7],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,6,21,7],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,6,22,7],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,6,23,7],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,6,24,7],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,6,25,7],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,6,26,7],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,6,27,7],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,9],[33,10,33,11],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,9],[34,10,34,11],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,9],[36,10,36,11],[37,0,37,9],[37,10,37,11],[39,2,39,11],[40,0,40,3],[40,7,40,10]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,null,"计算基数(元)",null,"计算费率(％)",null,"金额(元)"]
["1","规费",null,"环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"2.000"]
["1.2","住房公积金",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.340"]
["1.3","环境保护税",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金",null,"分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":29}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":6},"复核人（造价工程师）："]

{"sheet":"5 表-20 发包人提供材料和工程设备一览表","index":6,"n_rows":44,"n_cols":13,"rows_kept":44,"merged":[[0,0,0,12],[1,0,1,5],[1,6,1,9],[1,10,1,12],[2,2,2,3],[2,5,2,6],[2,9,2,10],[3,2,3,3],[3,5,3,6],[3,9,3,10],[4,2,4,3],[4,5,4,6],[4,9,4,10],[5,2,5,3],[5,5,5,6],[5,9,5,10],[6,2,6,3],[6,5,6,6],[6,9,6,10],[7,2,7,3],[7,5,7,6],[7,9,7,10],[8,2,8,3],[8,5,8,6],[8,9,8,10],[9,2,9,3],[9,5,9,6],[9,9,9,10],[10,2,10,3],[10,5,10,6],[10,9,10,10],[11,2,11,3],[11,5,11,6],[11,9,11,10],[12,2,12,3],[12,5,12,6],[12,9,12,10],[13,2,13,3],[13,5,13,6],[13,9,13,10],[14,2,14,3],[14,5,14,6],[14,9,14,10],[15,2,15,3],[15,5,15,6],[15,9,15,10],[16,2,16,3],[16,5,16,6],[16,9,16,10],[17,2,17,3],[17,5,17,6],[17,9,17,10],[18,2,18,3],[18,5,18,6],[18,9,18,10],[19,2,19,3],[19,5,19,6],[19,9,19,10],[20,2,20,3],[20,5,20,6],[20,9,20,10],[21,2,21,3],[21,5,21,6],[21,9,21,10],[22,2,22,3],[22,5,22,6],[22,9,22,10],[23,2,23,3],[23,5,23,6],[23,9,23,10],[24,2,24,3],[24,5,24,6],[24,9,24,10],[25,2,25,3],[25,5,25,6],[25,9,25,10],[26,2,26,3],[26,5,26,6],[26,9,26,10],[27,2,27,3],[27,5,27,6],[27,9,27,10],[28,2,28,3],[28,5,28,6],[28,9,28,10],[29,2,29,3],[29,5,29,6],[29,9,29,10],[30,2,30,3],[30,5,30,6],[30,9,30,10],[31,2,31,3],[31,5,31,6],[31,9,31,10],[32,2,32,3],[32,5,32,6],[32,9,32,10],[33,2,33,3],[33,5,33,6],[33,9,33,10],[34,2,34,3],[34,5,34,6],[34,9,34,10],[35,2,35,3],[35,5,35,6],[35,9,35,10],[36,2,36,3],[36,5,36,6],[36,9,36,10],[37,2,37,3],[37,5,37,6],[37,9,37,10],[38,2,38,3],[38,5,38,6],[38,9,38,10],[39,2,39,3],[39,5,39,6],[39,9,39,10],[40,2,40,3],[40,5,40,6],[40,9,40,10],[41,0,41,4],[41,5,41,6],[41,9,41,10],[43,3,43,12]],"flags":["formulas_cached_only"]}
["发包人提供材料和工程设备一览表"]
["工程名称：泉山0-13号楼污水管改造",{"$nulls":5},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","材料编码","材料(工程设备)名称、规格、型号",null,"单位","数量",null,"单价\n(元)","合价\n(元)","交货\n方式",null,"送达\n地点","备注"]
{"$rows_empty":38}
["合 计",{"$nulls":7},""]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]