{"text_format":"3","workbook":"xls","n_sheets":8,"sheets":["1.1 封-1 封面","1.2 扉-1 扉页","3.1 表-08 分部分项工程和单价措施项目清单与计价表","3.2 表-11 总价措施项目清单与计价表","3.3 表-13 规费、税金项目计价表","4.1 表-08 分部分项工程和单价措施项目清单与计价表","4.2 表-11 总价措施项目清单与计价表","4.3 表-13 规费、税金项目计价表"],"not_rendered":{"external_links":1,"defined_names":8},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 封-1 封面","index":0,"n_rows":19,"n_cols":7,"rows_kept":19,"merged":[[1,2,2,5],[1,6,2,7],[5,0,5,8],[10,4,11,6],[11,1,11,3],[12,4,12,6],[14,4,15,6],[15,1,15,3],[16,4,16,6],[18,3,18,4]],"flags":["formulas_cached_only"]}
[]
[null,null,"中俄学院多功能教室改造工程",{"$nulls":3},"工程"]
[]
[]
[]
["招标工程量清单"]
[]
[]
[]
[]
[]
[null,"招  标  人："]
[{"$nulls":4},"（单位盖章）"]
[]
[]
[null,"造价咨询人："]
[{"$nulls":4},"（单位盖章）"]
[]
[{"$nulls":3},"2023年07月06日"]

{"sheet":"1.2 扉-1 扉页","index":1,"n_rows":20,"n_cols":8,"rows_kept":20,"merged":[[1,2,2,6],[1,7,2,7],[4,0,4,9],[7,1,7,2],[7,6,7,8],[8,6,8,8],[10,1,11,2],[10,3,11,3],[10,5,11,5],[11,6,11,8],[12,6,12,8],[15,1,15,2],[15,6,15,8],[16,6,16,8],[19,1,19,2],[19,6,19,8]],"flags":["formulas_cached_only"]}
[]
[null,null,"中俄学院多功能教室改造工程",{"$nulls":4},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[null,"招  标  人：",{"$nulls":3},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",null,null,"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":3},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",null,null,"（签字或盖章）"]
[]
[]
[null,"编  制  人：",{"$nulls":3},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",null,null,"（造价工程师签字盖专用章）"]
[]
[]
[null,"编 制 时 间：",null,"2023年07月06日",null,"复 核 时 间：","2023年07月06日"]

{"sheet":"3.1 表-08 分部分项工程和单价措施项目清单与计价表","index":2,"n_rows":130,"n_cols":12,"rows_kept":130,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,0,6,0],[5,1,6,1],[5,2,6,3],[5,4,6,5],[5,6,6,6],[5,7,6,7],[5,8,6,8],[5,9,6,10],[5,11,6,11],[7,0,8,0],[7,1,8,1],[7,2,8,3],[7,4,8,5],[7,6,8,6],[7,7,8,7],[7,8,8,8],[7,9,8,10],[7,11,8,11],[9,0,10,0],[9,1,10,1],[9,2,10,3],[9,4,10,5],[9,6,10,6],[9,7,10,7],[9,8,10,8],[9,9,10,10],[9,11,10,11],[11,0,12,0],[11,1,12,1],[11,2,12,3],[11,4,12,5],[11,6,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,10],[11,11,12,11],[13,0,14,0],[13,1,14,1],[13,2,14,3],[13,4,14,5],[13,6,14,6],[13,7,14,7],[13,8,14,8],[13,9,14,10],[13,11,14,11],[15,0,16,0],[15,1,16,1],[15,2,16,3],[15,4,16,5],[15,6,16,6],[15,7,16,7],[15,8,16,8],[15,9,16,10],[15,11,16,11],[17,2,17,3],[17,4,17,5],[17,9,17,10],[18,2,18,3],[18,4,18,5],[18,9,18,10],[19,2,19,3],[19,4,19,5],[19,9,19,10],[20,2,20,3],[20,4,20,5],[20,9,20,10],[21,2,21,3],[21,4,21,5],[21,9,21,10],[22,2,22,3],[22,4,22,5],[22,9,22,10],[23,2,23,3],[23,4,23,5],[23,9,23,10],[24,0,24,8],[24,9,24,10],[26,3,26,11],[27,0,27,11],[28,0,28,4],[28,5,28,9],[28,10,28,11],[29,0,31,0],[29,1,31,1],[29,2,31,3],[29,4,31,5],[29,6,31,6],[29,7,31,7],[29,8,29,11],[30,8,31,8],[30,9,31,10],[32,0,33,0],[32,1,33,1],[32,2,33,3],[32,4,33,5],[32,6,33,6],[32,7,33,7],[32,8,33,8],[32,9,33,10],[32,11,33,11],[34,0,35,0],[34,1,35,1],[34,2,35,3],[34,4,35,5],[34,6,35,6],[34,7,35,7],[34,8,35,8],[34,9,35,10],[34,11,35,11],[36,0,38,0],[36,1,38,1],[36,2,38,3],[36,4,38,5],[36,6,38,6],[36,7,38,7],[36,8,38,8],[36,9,38,10],[36,11,38,11],[39,0,40,0],[39,1,40,1],[39,2,40,3],[39,4,40,5],[39,6,40,6],[39,7,40,7],[39,8,40,8],[39,9,40,10],[39,11,40,11],[41,2,41,3],[41,4,41,5],[41,9,41,10],[42,2,42,3],[42,4,42,5],[42,9,42,10],[43,2,43,3],[43,4,43,5],[43,9,43,10],[44,0,44,8],[44,9,44,10],[46,3,46,11],[47,0,47,11],[48,0,48,4],[48,5,48,9],[48,10,48,11],[49,0,51,0],[49,1,51,1],[49,2,51,3],[49,4,51,5],[49,6,51,6],[49,7,51,7],[49,8,49,11],[50,8,51,8],[50,9,51,10],[52,0,55,0],[52,1,55,1],[52,2,55,3],[52,4,55,5],[52,6,55,6],[52,7,55,7],[52,8,55,8],[52,9,55,10],[52,11,55,11],[56,0,57,0],[56,1,57,1],[56,2,57,3],[56,4,57,5],[56,6,57,6],[56,7,57,7],[56,8,57,8],[56,9,57,10],[56,11,57,11],[58,0,61,0],[58,1,61,1],[58,2,61,3],[58,4,61,5],[58,6,61,6],[58,7,61,7],[58,8,61,8],[58,9,61,10],[58,11,61,11],[62,2,62,3],[62,4,62,5],[62,9,62,10],[63,2,63,3],[63,4,63,5],[63,9,63,10],[64,0,64,8],[64,9,64,10],[66,3,66,11],[67,0,67,11],[68,0,68,4],[68,5,68,9],[68,10,68,11],[69,0,71,0],[69,1,71,1],[69,2,71,3],[69,4,71,5],[69,6,71,6],[69,7,71,7],[69,8,69,11],[70,8,71,8],[70,9,71,10],[72,0,73,0],[72,1,73,1],[72,2,73,3],[72,4,73,5],[72,6,73,6],[72,7,73,7],[72,8,73,8],[72,9,73,10],[72,11,73,11],[74,0,75,0],[74,1,75,1],[74,2,75,3],[74,4,75,5],[74,6,75,6],[74,7,75,7],[74,8,75,8],[74,9,75,10],[74,11,75,11],[76,0,77,0],[76,1,77,1],[76,2,77,3],[76,4,77,5],[76,6,77,6],[76,7,77,7],[76,8,77,8],[76,9,77,10],[76,11,77,11],[78,0,81,0],[78,1,81,1],[78,2,81,3],[78,4,81,5],[78,6,81,6],[78,7,81,7],[78,8,81,8],[78,9,81,10],[78,11,81,11],[82,2,82,3],[82,4,82,5],[82,9,82,10],[83,0,83,8],[83,9,83,10],[85,3,85,11],[86,0,86,11],[87,0,87,4],[87,5,87,9],[87,10,87,11],[88,0,90,0],[88,1,90,1],[88,2,90,3],[88,4,90,5],[88,6,90,6],[88,7,90,7],[88,8,88,11],[89,8,90,8],[89,9,90,10],[91,0,94,0],[91,1,94,1],[91,2,94,3],[91,4,94,5],[91,6,94,6],[91,7,94,7],[91,8,94,8],[91,9,94,10],[91,11,94,11],[95,0,96,0],[95,1,96,1],[95,2,96,3],[95,4,96,5],[95,6,96,6],[95,7,96,7],[95,8,96,8],[95,9,96,10],[95,11,96,11],[97,0,99,0],[97,1,99,1],[97,2,99,3],[97,4,99,5],[97,6,99,6],[97,7,99,7],[97,8,99,8],[97,9,99,10],[97,11,99,11],[100,2,100,3],[100,4,100,5],[100,9,100,10],[101,2,101,3],[101,4,101,5],[101,9,101,10],[102,2,102,3],[102,4,102,5],[102,9,102,10],[103,0,103,8],[103,9,103,10],[105,3,105,11],[106,0,106,11],[107,0,107,4],[107,5,107,9],[107,10,107,11],[108,0,110,0],[108,1,110,1],[108,2,110,3],[108,4,110,5],[108,6,110,6],[108,7,110,7],[108,8,108,11],[109,8,110,8],[109,9,110,10],[111,0,113,0],[111,1,113,1],[111,2,113,3],[111,4,113,5],[111,6,113,6],[111,7,113,7],[111,8,113,8],[111,9,113,10],[111,11,113,11],[114,0,116,0],[114,1,116,1],[114,2,116,3],[114,4,116,5],[114,6,116,6],[114,7,116,7],[114,8,116,8],[114,9,116,10],[114,11,116,11],[117,2,117,3],[117,4,117,5],[117,9,117,10],[118,2,118,5],[118,9,118,10],[119,2,119,3],[119,4,119,5],[119,9,119,10],[120,2,120,5],[120,9,120,10],[121,2,121,3],[121,4,121,5],[121,9,121,10],[122,2,122,3],[122,4,122,5],[122,9,122,10],[123,2,123,3],[123,4,123,5],[123,9,123,10],[124,2,124,3],[124,4,124,5],[124,9,124,10],[125,2,125,3],[125,4,125,5],[125,9,125,10],[126,0,126,8],[126,9,126,10],[127,0,127,8],[127,9,127,10],[129,3,129,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":4},"标段：",{"$nulls":4},"第1页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["1","011610001001","木门窗拆除",null,"1、拆除部位：单扇木门\n2、垃圾归堆收集、外运出校\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"樘","2"]
[]
["2","011610002001","金属门窗拆除",null,"1、拆除部位：原塑钢窗\n2、垃圾归堆收集、外运出校\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"樘","4"]
[]
["3","011613001001","灯具拆除",null,"1、拆除部位：双管荧光灯\n2、垃圾归堆收集、外运出校\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"套","12"]
[]
["4","011614002001","黑板拆除",null,"1、拆除部位：室内原黑板\n2、垃圾归堆收集、运至校方指定地点\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"个","1"]
[]
["5","011605002001","立面块料拆除",null,"1、拆除部位：瓷砖踢脚线\n2、垃圾归堆收集、外运出校\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","4.61"]
[]
["6","011605001001","平面块料拆除",null,"1、拆除部位：原室内损坏处地砖\n2、损坏处地砖拆除后水泥砂浆找平\n3、垃圾归堆收集、外运出校\n4、投标单位综合考虑、自主报价，满足使用单位要求",null,"项","1"]
{"$rows_empty":8}
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":4},"标段：",{"$nulls":4},"第2页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["7","011103004001","塑料卷材楼地面",null,"1、部位：室内地面\n2、基层材料品种：5mm复合砂浆自流平\n3、面层材料品种：2.0mm塑料卷材地板\n4、品牌：凯立龙、福龙、优尚等同品质品牌\n5、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","88.16"]
[]
["8","011105006001","金属踢脚线",null,"1、部位：室内墙面踢脚线\n2、踢脚线高度：60mm\n3、面层材料品种、规格：0.7mm成品不锈钢踢脚线\n4、含安装所需的全部配件及辅材\n5、投标单位综合考虑，满足使用单位要求",null,"m","36.42"]
[]
["9","011210002001","金属隔断",null,"1、部位：室内金属隔断\n2、骨架、边框材料种类、规格：75隔墙龙骨\n3、隔板材料品种、规格、颜色：18mm阻燃板基层\n4、面层材料品种、规格、颜色：8mm碳素吸音板（半山纹橡木）木饰面\n5、主材品牌：莫干山、兔宝宝、朗生\n6、投标单位综合考虑，满足使用单位要求",null,"m2","6.96"]
[]
[]
["10","011504003001","金属暖气罩",null,"1、部位：室内暖气片\n2、暖气罩材质：白色铝合金百叶暖气罩\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","4.32"]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":4},"标段：",{"$nulls":4},"第3页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["11","011207001001","墙面装饰板",null,"1、龙骨材料种类、规格、中距：20*40木龙骨@300\n2、隔离层材料种类、规格：50mm吸音棉\n3、基层材料种类、规格：18mm阻燃板\n4、面层材料品种、规格、颜色：8mm碳素板（半山纹橡木）木饰面\n5、压条材料种类、规格：配套T型及箭型金属压条\n6、主材品牌：莫干山、兔宝宝、朗生\n7、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","22.31"]
[]
[]
[]
["12","010809004001","石材窗台板",null,"1、部位：室内窗台板\n2、基层类型、部位：爵士白石材窗台板\n3、粘接形式：结构胶粘贴\n4、磨边形式：双边45度\n5、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","2.91"]
[]
["13","011207002001","墙面装饰浮雕",null,"1、部位：室内墙面\n2、龙骨材料种类、规格、中距：20*40木龙骨@300\n3、隔离层材料种类、规格：50mm吸音棉\n4、基层材料种类、规格：12mm阻燃板\n5、面层材料品种、规格、颜色：9mm高密聚氨酯纤维吸音板\n6、压条材料种类、规格：工字型金属压条\n7、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","59.98"]
[]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":4},"标段：",{"$nulls":4},"第4页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["14","010808004001","金属窗套",null,"1、部位：室内窗\n2、门窗套展开宽度：250mm以内\n3、基层材料种类：12mm阻燃板\n4、面层材料品种、规格：0.9mm深古铜不锈钢\n5、投标单位综合考虑、自主报价，满足使用单位要求",null,"m","29.76"]
[]
["15","010808004002","金属门套",null,"1、部位：室内门\n2、门窗套展开宽度：350mm以内\n3、基层材料种类：12mm阻燃板\n4、面层材料品种、规格：0.9mm深古铜不锈钢\n5、投标单位综合考虑、自主报价，满足使用单位要求",null,"m","12.8"]
[]
["16","010802004001","防盗门",null,"1、门代号及洞口尺寸：0.9*2.7\n2、门框、扇材质：金属防盗门、包含指纹密码锁\n3、主材品牌：步阳、亚亚、王力\n4、包括安装所需五金配件等\n5、投标单位综合考虑、自主报价，满足使用单位要求",null,"樘","2"]
[]
["17","010807001001","金属（塑钢、断桥）窗",null,"1、安装部位：室内窗\n2、窗代号及洞口尺寸：1760*1960\n3、框、扇材质：90系列断桥铝合金推拉窗（含纱窗）\n4、窗纱规格：金刚砂纱窗\n5、玻璃品种、厚度：5+12A+5钢化中空玻璃\n6、材料品牌：海螺、凤铝、伟昌\n7、包括窗制作安装、不锈钢五金配件等，其他未尽事项均应满足使用方及规范要求",null,"m2","13.8"]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":4},"标段：",{"$nulls":4},"第5页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["18","011302001001","吊顶天棚",null,"1、部位：纸面石膏板吊顶\n2、吊顶形式、吊杆规格、高度：φ8mm全丝镀锌吊杆\n3、龙骨材料种类、规格、中距：50系轻钢龙骨\n4、面层材料品种、规格、：双层9.5mm纸面石膏板\n5、批腻子砂纸打磨找平、刷乳胶漆各三遍\n6、石膏板品牌：泰山、龙牌、可耐福\n7、乳胶漆品牌：多乐士、紫荆花、美涂士中选择一种\n8、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","71.89"]
[]
[]
[]
["19","011304001001","灯带（槽）",null,"1、部位：室内顶面\n2、灯带型式、尺寸：发光灯带\n3、基层：18mm阻燃板、9.5mm纸面石膏板，批腻子刷白色乳胶漆两遍\n4、投标单位综合考虑、自主报价，满足使用单位要求",null,"m","64.84"]
[]
["20","011507003003","灯箱",null,"1、部位：室内顶面\n2、箱体规格：100宽100深\n3、基层材料种类：18mm阻燃板基层，内贴9.5mm纸面石膏板，批腻子刷白色乳胶漆两遍\n4、面层材料种类：白色透光软膜\n5、石膏板品牌：泰山、龙牌、可耐福\n6、乳胶漆品牌：多乐士、紫荆花、美涂士中选择一种\n7、投标单位综合考虑、自主报价，满足使用单位要求",null,"m","53.04"]
[]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":4},"标段：",{"$nulls":4},"第6页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["21","011507003004","灯箱",null,"1、部位：室内顶面\n2、箱体规格：950宽4280长250深\n3、基层材料种类：18mm阻燃板基层，内贴9.5mm纸面石膏板，批腻子刷白色乳胶漆两遍\n4、面层材料种类：白色透光软膜\n5、石膏板品牌：泰山、龙牌、可耐福\n6、乳胶漆品牌：多乐士、紫荆花、美涂士中选择一种\n7、投标单位综合考虑、自主报价，满足使用单位要求",null,"个","4"]
[]
[]
["22","010810002001","木窗帘盒",null,"1、部位：室内窗帘盒\n2、窗帘盒基层材质、规格：15mm阻燃板基层\n3、窗帘盒面层材质、规格：9.5mm纸面石膏板，批腻子刷白色乳胶漆两遍\n4、石膏板品牌：泰山、龙牌、可耐福\n5、乳胶漆品牌：多乐士、紫荆花、美涂士中选择一种\n6、投标单位综合考虑、自主报价，满足使用单位要求",null,"m","11.63"]
[]
[]
["23","010810001001","窗帘",null,"1、部位：室内窗帘\n2、窗帘材质：阳光面料遮光卷帘\n3、投标单位综合考虑、自主报价，满足使用单位要求",null,"m2","13.8"]
[null,null,"分部分项合计",{"$nulls":4},""]
["1","011701001001","综合脚手架",{"$nulls":3},"项","1"]
[null,null,"单价措施合计",{"$nulls":4},""]
[]
[]
[]
[]
[]
["本页小计"]
["合    计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"3.2 表-11 总价措施项目清单与计价表","index":3,"n_rows":74,"n_cols":14,"rows_kept":74,"merged":[[0,0,0,14],[1,0,1,6],[1,7,1,11],[1,12,1,14],[2,2,2,4],[2,6,2,7],[2,8,2,9],[2,11,2,12],[2,13,2,14],[3,2,3,4],[3,6,3,7],[3,8,3,9],[3,11,3,12],[3,13,3,14],[4,2,4,4],[4,6,4,7],[4,8,4,9],[4,11,4,12],[4,13,4,14],[5,2,5,4],[5,6,5,7],[5,8,5,9],[5,11,5,12],[5,13,5,14],[6,2,6,4],[6,6,6,7],[6,8,6,9],[6,11,6,12],[6,13,6,14],[7,2,7,4],[7,6,7,7],[7,8,7,9],[7,11,7,12],[7,13,7,14],[8,0,11,0],[8,1,11,1],[8,2,11,4],[8,5,11,5],[8,6,11,7],[8,8,11,9],[8,10,11,10],[8,11,11,12],[8,13,11,14],[12,2,12,4],[12,6,12,7],[12,8,12,9],[12,11,12,12],[12,13,12,14],[13,2,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[14,2,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[15,2,15,4],[15,6,15,7],[15,8,15,9],[15,11,15,12],[15,13,15,14],[16,0,16,14],[18,3,18,14],[19,0,19,3],[19,9,19,13],[20,0,20,14],[21,0,21,6],[21,7,21,11],[21,12,21,14],[22,2,22,4],[22,6,22,7],[22,8,22,9],[22,11,22,12],[22,13,22,14],[23,2,23,4],[23,6,23,7],[23,8,23,9],[23,11,23,12],[23,13,23,14],[24,2,24,4],[24,6,24,7],[24,8,24,9],[24,11,24,12],[24,13,24,14],[25,2,25,4],[25,6,25,7],[25,8,25,9],[25,11,25,12],[25,13,25,14],[26,2,26,4],[26,6,26,7],[26,8,26,9],[26,11,26,12],[26,13,26,14],[27,2,27,4],[27,6,27,7],[27,8,27,9],[27,11,27,12],[27,13,27,14],[28,0,29,0],[28,1,29,1],[28,2,29,4],[28,5,29,5],[28,6,29,7],[28,8,29,9],[28,10,29,10],[28,11,29,12],[28,13,29,14],[30,0,32,0],[30,1,32,1],[30,2,32,4],[30,5,32,5],[30,6,32,7],[30,8,32,9],[30,10,32,10],[30,11,32,12],[30,13,32,14],[33,2,33,4],[33,6,33,7],[33,8,33,9],[33,11,33,12],[33,13,33,14],[34,2,34,4],[34,6,34,7],[34,8,34,9],[34,11,34,12],[34,13,34,14],[35,2,35,4],[35,6,35,7],[35,8,35,9],[35,11,35,12],[35,13,35,14],[36,0,36,14],[37,3,37,14],[38,0,38,3],[38,9,38,13],[39,0,39,14],[40,0,40,6],[40,7,40,11],[40,12,40,14],[41,2,41,4],[41,6,41,7],[41,8,41,9],[41,11,41,12],[41,13,41,14],[42,0,44,0],[42,1,44,1],[42,2,44,4],[42,5,44,5],[42,6,44,7],[42,8,44,9],[42,10,44,10],[42,11,44,12],[42,13,44,14],[45,2,45,4],[45,6,45,7],[45,8,45,9],[45,11,45,12],[45,13,45,14],[46,2,46,4],[46,6,46,7],[46,8,46,9],[46,11,46,12],[46,13,46,14],[47,2,47,4],[47,6,47,7],[47,8,47,9],[47,11,47,12],[47,13,47,14],[48,2,48,4],[48,6,48,7],[48,8,48,9],[48,11,48,12],[48,13,48,14],[49,2,49,4],[49,6,49,7],[49,8,49,9],[49,11,49,12],[49,13,49,14],[50,2,50,4],[50,6,50,7],[50,8,50,9],[50,11,50,12],[50,13,50,14],[51,2,51,4],[51,6,51,7],[51,8,51,9],[51,11,51,12],[51,13,51,14],[52,2,52,4],[52,6,52,7],[52,8,52,9],[52,11,52,12],[52,13,52,14],[53,2,53,4],[53,6,53,7],[53,8,53,9],[53,11,53,12],[53,13,53,14],[54,2,54,4],[54,6,54,7],[54,8,54,9],[54,11,54,12],[54,13,54,14],[55,2,55,4],[55,6,55,7],[55,8,55,9],[55,11,55,12],[55,13,55,14],[56,2,56,4],[56,6,56,7],[56,8,56,9],[56,11,56,12],[56,13,56,14],[57,2,57,4],[57,6,57,7],[57,8,57,9],[57,11,57,12],[57,13,57,14],[58,2,58,4],[58,6,58,7],[58,8,58,9],[58,11,58,12],[58,13,58,14],[59,2,59,4],[59,6,59,7],[59,8,59,9],[59,11,59,12],[59,13,59,14],[60,2,60,4],[60,6,60,7],[60,8,60,9],[60,11,60,12],[60,13,60,14],[61,2,61,4],[61,6,61,7],[61,8,61,9],[61,11,61,12],[61,13,61,14],[62,2,62,4],[62,6,62,7],[62,8,62,9],[62,11,62,12],[62,13,62,14],[63,2,63,4],[63,6,63,7],[63,8,63,9],[63,11,63,12],[63,13,63,14],[64,2,64,4],[64,6,64,7],[64,8,64,9],[64,11,64,12],[64,13,64,14],[65,2,65,4],[65,6,65,7],[65,8,65,9],[65,11,65,12],[65,13,65,14],[66,2,66,4],[66,6,66,7],[66,8,66,9],[66,11,66,12],[66,13,66,14],[67,2,67,4],[67,6,67,7],[67,8,67,9],[67,11,67,12],[67,13,67,14],[68,2,68,4],[68,6,68,7],[68,8,68,9],[68,11,68,12],[68,13,68,14],[69,2,69,4],[69,6,69,7],[69,8,69,9],[69,11,69,12],[69,13,69,14],[70,0,70,14],[72,3,72,14],[73,0,73,3],[73,9,73,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":6},"标段：",{"$nulls":4},"第1页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["1","011707001001","安全文明施工费",{"$nulls":3},""]
["1.1",null,"基本费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","1.500"]
["1.2",null,"增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["1.3",null,"扬尘污染防治增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","0.210"]
["2","011707002001","夜间施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","011707003001","非夜间施工照明",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"在计取非夜间施工照明费时，建筑工程、仿古工程、修缮土建部分仅地下室（地宫）部分可计取；单独装饰、安装工程、园林绿化工程、修缮安装部分仅特殊施工部位内施工项目可计取"]
[]
[]
[]
["4","011707004001","二次搬运",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","011707005001","冬雨季施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":6},"标段：",{"$nulls":4},"第2页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["6","011707006001","地上、地下设施、建筑物的临时保护设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","011707007001","已完工程及设备保护",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","011707008001","临时设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["9","011707009001","赶工措施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","011707010001","工程按质论价",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["11","011707011001","住宅分户验收",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"在计取住宅分户验收时，大型土石方工程、桩基工程和地下室部分不计入计费基础"]
[]
["12","011707012001","建筑工人实名制费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"建筑工人实名制设备由建筑工人工资专用账户开户银行提供的，建筑工人实名制费用按表中费率乘以0.5系数计取"]
[]
[]
["13","011707091001","特殊条件下施工增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":6},"标段：",{"$nulls":4},"第3页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["14","011707015001","智慧工地费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"现场安全隐患排查、人员信息动态管理、扬尘管控视频监控、高处作业防护预警、危大工程监测预警和集成平台等设备、软件和管理费用。"]
[]
[]
["15","011707016001","新冠疫情常态化防控",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
{"$rows_empty":26}
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]

{"sheet":"3.3 表-13 规费、税金项目计价表","index":4,"n_rows":41,"n_cols":11,"rows_kept":41,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,1,2,2],[2,3,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,6,7,7],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,6,9,7],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,6,10,7],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,6,13,7],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,6,21,7],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,6,22,7],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,6,23,7],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,6,24,7],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,6,25,7],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,6,26,7],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,6,27,7],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,9],[33,10,33,11],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,9],[34,10,34,11],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,9],[36,10,36,11],[37,0,37,9],[37,10,37,11],[39,2,39,11],[40,0,40,3],[40,7,40,10]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮装饰",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,null,"计算基数(元)",null,"计算费率(％)",null,"金额(元)"]
["1","规费",null,"环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"3.800"]
["1.2","住房公积金",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.670"]
["1.3","环境保护税",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金",null,"分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":29}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":6},"复核人（造价工程师）："]

{"sheet":"4.1 表-08 分部分项工程和单价措施项目清单与计价表","index":5,"n_rows":22,"n_cols":12,"rows_kept":22,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,3],[5,4,5,5],[5,9,5,10],[6,2,6,3],[6,4,6,5],[6,9,6,10],[7,2,7,3],[7,4,7,5],[7,9,7,10],[8,2,8,3],[8,4,8,5],[8,9,8,10],[9,2,9,3],[9,4,9,5],[9,9,9,10],[10,2,10,3],[10,4,10,5],[10,9,10,10],[11,2,11,3],[11,4,11,5],[11,9,11,10],[12,0,13,0],[12,1,13,1],[12,2,13,3],[12,4,13,5],[12,6,13,6],[12,7,13,7],[12,8,13,8],[12,9,13,10],[12,11,13,11],[14,0,15,0],[14,1,15,1],[14,2,15,3],[14,4,15,5],[14,6,15,6],[14,7,15,7],[14,8,15,8],[14,9,15,10],[14,11,15,11],[16,2,16,3],[16,4,16,5],[16,9,16,10],[17,2,17,5],[17,9,17,10],[18,0,18,8],[18,9,18,10],[19,0,19,8],[19,9,19,10],[21,3,21,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮安装",{"$nulls":4},"标段：",{"$nulls":4},"第1页 共1页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["1","030411001001","配管",null,"1、名称：PC25穿线管\n2、配置形式：暗敷",null,"m","52"]
["2","030411001002","配管",null,"1、名称：PC20穿线管\n2、配置形式：暗敷",null,"m","115.26"]
["3","030411004001","配线",null,"1、名称：管内穿线\n2、规格、材质：铜芯BV-2.5mm2\n3、主材品牌：远东、铜山、江南",null,"m","345.78"]
["4","030411004002","配线",null,"1、名称：管内穿线\n2、规格、材质：铜芯BV-4mm2\n3、主材品牌：远东、铜山、江南",null,"m","156"]
["5","030412005001","荧光灯",null,"1、名称：灯箱内LED发光条\n2、型号：9W/米\n3、安装形式：自粘\n4、主材品牌：欧普、飞利浦、雷士",null,"m","295.2"]
["6","030412005002","荧光灯",null,"1、名称：T5  LED灯管\n2、主材品牌：欧普、飞利浦、雷士",null,"套","65"]
["7","030412005003","荧光灯",null,"1、名称：线型灯\n2、规格：30mm\n3、安装形式：嵌入式",null,"m","35.46"]
["8","030404035001","插座",null,"1、名称：空调插座\n2、安装方式：暗装\n3、主材品牌：公牛、TCL、德力西\n4、插座具体安装部位，满足使用单位使用需求",null,"个","2"]
[]
["9","030404035002","插座",null,"1、名称：五孔插座\n2、安装方式：暗装\n3、主材品牌：公牛、TCL、德力西\n4、插座具体安装部位，满足使用单位使用需求",null,"个","19"]
[]
["10","030404034001","照明开关",null,"1、名称：三联单控开关\n2、安装方式：暗装\n3、主材品牌：公牛、TCL、德力西",null,"个","1"]
[null,null,"分部分项合计",{"$nulls":4},""]
["本页小计"]
["合    计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"4.2 表-11 总价措施项目清单与计价表","index":6,"n_rows":78,"n_cols":14,"rows_kept":78,"merged":[[0,0,0,14],[1,0,1,6],[1,7,1,11],[1,12,1,14],[2,2,2,4],[2,6,2,7],[2,8,2,9],[2,11,2,12],[2,13,2,14],[3,2,3,4],[3,6,3,7],[3,8,3,9],[3,11,3,12],[3,13,3,14],[4,2,4,4],[4,6,4,7],[4,8,4,9],[4,11,4,12],[4,13,4,14],[5,2,5,4],[5,6,5,7],[5,8,5,9],[5,11,5,12],[5,13,5,14],[6,2,6,4],[6,6,6,7],[6,8,6,9],[6,11,6,12],[6,13,6,14],[7,2,7,4],[7,6,7,7],[7,8,7,9],[7,11,7,12],[7,13,7,14],[8,2,8,4],[8,6,8,7],[8,8,8,9],[8,11,8,12],[8,13,8,14],[9,2,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[10,2,10,4],[10,6,10,7],[10,8,10,9],[10,11,10,12],[10,13,10,14],[11,2,11,4],[11,6,11,7],[11,8,11,9],[11,11,11,12],[11,13,11,14],[12,2,12,4],[12,6,12,7],[12,8,12,9],[12,11,12,12],[12,13,12,14],[13,2,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[14,2,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[15,2,15,4],[15,6,15,7],[15,8,15,9],[15,11,15,12],[15,13,15,14],[16,0,16,14],[17,3,17,14],[18,0,18,3],[18,9,18,13],[19,0,19,14],[20,0,20,6],[20,7,20,11],[20,12,20,14],[21,2,21,4],[21,6,21,7],[21,8,21,9],[21,11,21,12],[21,13,21,14],[22,2,22,4],[22,6,22,7],[22,8,22,9],[22,11,22,12],[22,13,22,14],[23,0,24,0],[23,1,24,1],[23,2,24,4],[23,5,24,5],[23,6,24,7],[23,8,24,9],[23,10,24,10],[23,11,24,12],[23,13,24,14],[25,0,27,0],[25,1,27,1],[25,2,27,4],[25,5,27,5],[25,6,27,7],[25,8,27,9],[25,10,27,10],[25,11,27,12],[25,13,27,14],[28,2,28,4],[28,6,28,7],[28,8,28,9],[28,11,28,12],[28,13,28,14],[29,2,29,4],[29,6,29,7],[29,8,29,9],[29,11,29,12],[29,13,29,14],[30,0,32,0],[30,1,32,1],[30,2,32,4],[30,5,32,5],[30,6,32,7],[30,8,32,9],[30,10,32,10],[30,11,32,12],[30,13,32,14],[33,2,33,4],[33,6,33,7],[33,8,33,9],[33,11,33,12],[33,13,33,14],[34,0,34,14],[35,3,35,14],[36,0,36,3],[36,9,36,13],[37,0,37,14],[38,0,38,6],[38,7,38,11],[38,12,38,14],[39,2,39,4],[39,6,39,7],[39,8,39,9],[39,11,39,12],[39,13,39,14],[40,2,40,4],[40,6,40,7],[40,8,40,9],[40,11,40,12],[40,13,40,14],[41,2,41,4],[41,6,41,7],[41,8,41,9],[41,11,41,12],[41,13,41,14],[42,2,42,4],[42,6,42,7],[42,8,42,9],[42,11,42,12],[42,13,42,14],[43,2,43,4],[43,6,43,7],[43,8,43,9],[43,11,43,12],[43,13,43,14],[44,2,44,4],[44,6,44,7],[44,8,44,9],[44,11,44,12],[44,13,44,14],[45,2,45,4],[45,6,45,7],[45,8,45,9],[45,11,45,12],[45,13,45,14],[46,2,46,4],[46,6,46,7],[46,8,46,9],[46,11,46,12],[46,13,46,14],[47,2,47,4],[47,6,47,7],[47,8,47,9],[47,11,47,12],[47,13,47,14],[48,2,48,4],[48,6,48,7],[48,8,48,9],[48,11,48,12],[48,13,48,14],[49,2,49,4],[49,6,49,7],[49,8,49,9],[49,11,49,12],[49,13,49,14],[50,2,50,4],[50,6,50,7],[50,8,50,9],[50,11,50,12],[50,13,50,14],[51,2,51,4],[51,6,51,7],[51,8,51,9],[51,11,51,12],[51,13,51,14],[52,2,52,4],[52,6,52,7],[52,8,52,9],[52,11,52,12],[52,13,52,14],[53,2,53,4],[53,6,53,7],[53,8,53,9],[53,11,53,12],[53,13,53,14],[54,2,54,4],[54,6,54,7],[54,8,54,9],[54,11,54,12],[54,13,54,14],[55,2,55,4],[55,6,55,7],[55,8,55,9],[55,11,55,12],[55,13,55,14],[56,2,56,4],[56,6,56,7],[56,8,56,9],[56,11,56,12],[56,13,56,14],[57,2,57,4],[57,6,57,7],[57,8,57,9],[57,11,57,12],[57,13,57,14],[58,2,58,4],[58,6,58,7],[58,8,58,9],[58,11,58,12],[58,13,58,14],[59,2,59,4],[59,6,59,7],[59,8,59,9],[59,11,59,12],[59,13,59,14],[60,2,60,4],[60,6,60,7],[60,8,60,9],[60,11,60,12],[60,13,60,14],[61,2,61,4],[61,6,61,7],[61,8,61,9],[61,11,61,12],[61,13,61,14],[62,2,62,4],[62,6,62,7],[62,8,62,9],[62,11,62,12],[62,13,62,14],[63,2,63,4],[63,6,63,7],[63,8,63,9],[63,11,63,12],[63,13,63,14],[64,2,64,4],[64,6,64,7],[64,8,64,9],[64,11,64,12],[64,13,64,14],[65,2,65,4],[65,6,65,7],[65,8,65,9],[65,11,65,12],[65,13,65,14],[66,2,66,4],[66,6,66,7],[66,8,66,9],[66,11,66,12],[66,13,66,14],[67,2,67,4],[67,6,67,7],[67,8,67,9],[67,11,67,12],[67,13,67,14],[68,2,68,4],[68,6,68,7],[68,8,68,9],[68,11,68,12],[68,13,68,14],[69,2,69,4],[69,6,69,7],[69,8,69,9],[69,11,69,12],[69,13,69,14],[70,2,70,4],[70,6,70,7],[70,8,70,9],[70,11,70,12],[70,13,70,14],[71,2,71,4],[71,6,71,7],[71,8,71,9],[71,11,71,12],[71,13,71,14],[72,2,72,4],[72,6,72,7],[72,8,72,9],[72,11,72,12],[72,13,72,14],[73,2,73,4],[73,6,73,7],[73,8,73,9],[73,11,73,12],[73,13,73,14],[74,2,74,4],[74,6,74,7],[74,8,74,9],[74,11,74,12],[74,13,74,14],[75,0,75,14],[76,3,76,14],[77,0,77,3],[77,9,77,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮安装",{"$nulls":6},"标段：",{"$nulls":4},"第1页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["1","031302001001","安全文明施工费",{"$nulls":3},""]
["1.1",null,"基本费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","1.500"]
["1.2",null,"增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["1.3",null,"扬尘污染防治增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","0.210"]
["2","031302002001","夜间施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","031302003001","非夜间施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["4","031302004001","二次搬运",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","031302005001","冬雨季施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["6","031302006001","已完工程及设备保护",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","031302008001","临时设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","031302009001","赶工措施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮安装",{"$nulls":6},"标段：",{"$nulls":4},"第2页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["9","031302010001","工程按质论价",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","031302011001","住宅分户验收",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"在计取住宅分户验收时，大型土石方工程、桩基工程和地下室部分不计入计费基础"]
[]
["11","031302012001","建筑工人实名制费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"建筑工人实名制设备由建筑工人工资专用账户开户银行提供的，建筑工人实名制费用按表中费率乘以0.5系数计取"]
[]
[]
["12","031302090001","地上、地下设施、建筑物的临时保护设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["13","031302091001","特殊条件下施工增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["14","031302015001","智慧工地费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"现场安全隐患排查、人员信息动态管理、扬尘管控视频监控、高处作业防护预警、危大工程监测预警和集成平台等设备、软件和管理费用。"]
[]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮安装",{"$nulls":6},"标段：",{"$nulls":4},"第3页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["15","031302016001","新冠疫情常态化防控",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
{"$rows_empty":35}
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]

{"sheet":"4.3 表-13 规费、税金项目计价表","index":7,"n_rows":41,"n_cols":11,"rows_kept":41,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,1,2,2],[2,3,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,6,7,7],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,6,9,7],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,6,10,7],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,6,13,7],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,6,21,7],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,6,22,7],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,6,23,7],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,6,24,7],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,6,25,7],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,6,26,7],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,6,27,7],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,9],[33,10,33,11],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,9],[34,10,34,11],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,9],[36,10,36,11],[37,0,37,9],[37,10,37,11],[39,2,39,11],[40,0,40,3],[40,7,40,10]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：中俄学院多功能教室改造工程-修缮安装",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,null,"计算基数(元)",null,"计算费率(％)",null,"金额(元)"]
["1","规费",null,"环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"3.800"]
["1.2","住房公积金",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.670"]
["1.3","环境保护税",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金",null,"分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":29}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":6},"复核人（造价工程师）："]